# Fresco Manufacturing Master Plan 2040

## Chapter 22 – Functional Requirements Specification (FRS)

### Purpose

Define the functional behavior required from every manufacturing system independently of vendor or implementation technology. This document becomes the contractual reference for engineering, automation and acceptance.

### FRS Structure

Each subsystem shall include:
• Functional description
• Inputs
• Outputs
• Operating modes
• Performance requirements
• Alarms
• Interlocks
• Acceptance criteria

### Operating Modes

Mandatory operating modes:
• Off
• Manual
• Semi-Automatic
• Automatic
• Maintenance
• Emergency Stop
• Recovery

### Functional Requirements

Every function shall define:
• Trigger
• Preconditions
• Sequence
• Expected result
• Exception handling
• Data recorded

### Input / Output Definition

Examples:
Inputs:
• Level switches
• Load cells
• Temperature
• Pressure
• Flow
• Barcode reader

Outputs:
• Motors
• Valves
• Pumps
• Robot commands
• Filling heads
• Alarm indicators

### Fail Safe Philosophy

Loss of power, communication or safety signal shall move equipment to a predefined safe state without creating unacceptable product or personnel risk.

### HMI Requirements

Operator screens shall provide:
• Process overview
• Alarm summary
• Recipe status
• Equipment status
• Manual control (authorized users only)
• Historical trends

### Cause & Effect Matrix

A Cause & Effect matrix shall be prepared for every production module to define system response to alarms, trips and abnormal operating conditions.

### Acceptance Criteria

Every function shall be verified during FAT and SAT using documented test protocols with objective pass/fail criteria.

### Deliverables

Complete FRS document, Cause & Effect Matrix, Operating Philosophy, HMI Specification, I/O Definition and basis for Chapter 23 – Equipment Specifications.